## Plug Load
Plug Load Model
Existing
Average Electricity Cost = |  | 0.1 | per kWh |  | Average CO₂ Emitted per kWh = |  |  |  | 1.6 | lbs
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Equipment | Quantity In Use1 | Typical Use, Hours/Day | Wattage | Cycle Time2 | Monthly kWh | Months/Year | Yearly kWh | Annual Cost Each | Total Annual Cost | Annual CO2 Emissions (lbs)
Coffee Maker | 25 | 3 | 900 | 33% | 445.5 | 9 | 4009.5 | 16.038 | 400.95 | 6415.2
Computer/Monitor | 182 | 7 | 125 | 100% | 3185 | 9 | 28665 | 15.75 | 2866.5 | 45864
Fan | 10 | 3 | 115 | 100% | 69 | 9 | 621 | 6.21 | 62.1 | 993.6
Desk Lamp | 30 | 5 | 75 | 100% | 225 | 9 | 2025 | 6.75 | 202.5 | 3240
Microwave | 15 | 0.5 | 1000 | 100% | 150 | 9 | 1350 | 9 | 135 | 2160
Tabletop Fridge (<2.5 cu.ft.) | 5 | 24 | 100 | 33% | 120.384 | 9 | 1083.456 | 21.6691 | 108.3456 | 1733.5296
Small Fridge (2.5-6.4 cu.ft.) | 20 | 24 | 125 | 33% | 601.92 | 9 | 5417.28 | 27.0864 | 541.728 | 8667.648
Television | 25 | 1 | 80 | 100% | 40 | 9 | 360 | 1.44 | 36 | 576
VCR | 25 | 1 | 40 | 100% | 20 | 9 | 180 | 0.72 | 18 | 288
Space Heater | 20 | 7 | 1500 | 20% | 840 | 4 | 3360 | 16.8 | 336 | 5376
Window AC (9,000 Btu/hr) | 3 | 8 | 1000 | 50% | 240 | 4 | 960 | 32 | 96 | 1536
Window AC (12,000 Btu/hr) | 3 | 8 | 1300 | 50% | 312 | 4 | 1248 | 41.6 | 124.8 | 1996.8
Cold Drink Vending Machine | 6 | 24 | 800 | 50% | 1751.04 | 12 | 21012.48 | 350.208 | 2101.248 | 33619.968
Other? |  |  |  |  | 0 |  | 0
TOTAL |  |  |  |  | 7999.844 |  | 70291.716 |  | 7029.1716 | 112466.7456
Notes:
1. Quantities shown are for a typical, 25-classroom, 100,000 sq.ft., K-12 school.
2. Amount of time the appliance actually runs (e.g. a coffee maker burner is only on ~33% of the time).
3. If Necessary, change input in yellow for equipment you are analyzing. You can change other numbers if needed.

## Plug Load Savings
Plug Load Model
Savings
Average Electricity Cost = |  | 0.1 | per kWh |  | Average CO₂ Emitted per kWh = |  |  |  | 1.6 | lbs
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | Savings Analysis
Equipment | Quantity In Use1 | Typical Use, Hours/Day | Wattage | Cycle Time2 | Monthly kWh | Months/Year | Yearly kWh | Annual Cost Each | Total Annual Cost | Annual CO2 Emissions (lbs) | Existing Yearly kWh | kWh Savings | Existing Annual Cost | $$ Savings | Existing CO2 | CO2 Savings | Action Taken to Achieve Savings
Coffee Maker | 25 | 3 | 900 | 33% | 445.5 | 9 | 4009.5 | 16.038 | 400.95 | 6415.2 | 4009.5 | 0 | 400.95 | 0 | 6415.2 | 0
Computer/Monitor | 182 | 7 | 125 | 100% | 3185 | 9 | 28665 | 15.75 | 2866.5 | 45864 | 28665 | 0 | 2866.5 | 0 | 45864 | 0
Fan | 10 | 3 | 115 | 100% | 69 | 9 | 621 | 6.21 | 62.1 | 993.6 | 621 | 0 | 62.1 | 0 | 993.6 | 0
Desk Lamp | 30 | 5 | 75 | 100% | 225 | 9 | 2025 | 6.75 | 202.5 | 3240 | 2025 | 0 | 202.5 | 0 | 3240 | 0
Microwave | 15 | 0.5 | 1000 | 100% | 150 | 9 | 1350 | 9 | 135 | 2160 | 1350 | 0 | 135 | 0 | 2160 | 0
Tabletop Fridge (<2.5 cu.ft.) | 5 | 24 | 100 | 33% | 120.384 | 9 | 1083.456 | 21.6691 | 108.3456 | 1733.5296 | 1083.456 | 0 | 108.3456 | 0 | 1733.5296 | 0
Small Fridge (2.5-6.4 cu.ft.) | 20 | 24 | 125 | 33% | 601.92 | 9 | 5417.28 | 27.0864 | 541.728 | 8667.648 | 5417.28 | 0 | 541.728 | 0 | 8667.648 | 0
Television | 25 | 1 | 80 | 100% | 40 | 9 | 360 | 1.44 | 36 | 576 | 360 | 0 | 36 | 0 | 576 | 0
VCR | 25 | 1 | 40 | 100% | 20 | 9 | 180 | 0.72 | 18 | 288 | 180 | 0 | 18 | 0 | 288 | 0
Space Heater | 20 | 7 | 1500 | 20% | 840 | 4 | 3360 | 16.8 | 336 | 5376 | 3360 | 0 | 336 | 0 | 5376 | 0
Window AC (9,000 Btu/hr) | 3 | 8 | 1000 | 50% | 240 | 4 | 960 | 32 | 96 | 1536 | 960 | 0 | 96 | 0 | 1536 | 0
Window AC (12,000 Btu/hr) | 3 | 8 | 1300 | 50% | 312 | 4 | 1248 | 41.6 | 124.8 | 1996.8 | 1248 | 0 | 124.8 | 0 | 1996.8 | 0
Cold Drink Vending Machine | 6 | 24 | 800 | 50% | 1751.04 | 12 | 21012.48 | 350.208 | 2101.248 | 33619.968 | 21012.48 | 0 | 2101.248 | 0 | 33619.968 | 0
Other? | 0 | 0 | 0 | 0% | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  |  |  |  | 7999.844 |  | 70291.716 |  | 7029.1716 | 112466.7456 | 70291.716 | 0 | 7029.1716 | 0 | 112466.7456 | 0
Notes:
1. Quantities shown are for a typical, 25-classroom, 100,000 sq.ft., K-12 school.
2. Amount of time the appliance actually runs (e.g. a coffee maker burner is only on ~33% of the time).
3. If Necessary, change input in yellow for equipment you are analyzing. You can change other numbers if needed.

## Phantom Load
Phantom Load Model
Existing
|  | 0.1 | per kWh |  | Average CO₂ Emitted per kWh = |  |  |  | 1.6 | lbs
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Equipment | Quantity In Use1 | Typical Hours "off" Daily | Wattage | Cycle Time2 | Monthly kWh | Months/Year | Yearly kWh | Annual Cost Each | Total Annual Cost | Annual CO2 Emissions (lbs)
Coffee Maker | 25 | 3 | 0 | 33% | 0 | 9 | 0 | 0 | 0 | 0
Computer/Monitor | 182 | 7 | 3 | 100% | 76.44 | 9 | 687.96 | 0.378 | 68.796 | 1100.736
Fan | 10 | 3 | 0 | 100% | 0 | 9 | 0 | 0 | 0 | 0
Desk Lamp | 30 | 5 | 0 | 100% | 0 | 9 | 0 | 0 | 0 | 0
Microwave | 15 | 0.5 | 3 | 100% | 0.45 | 9 | 4.05 | 0.027 | 0.405 | 6.48
Tabletop Fridge (<2.5 cu.ft.) | 5 | 0 | 0 | 33% | 0 | 9 | 0 | 0 | 0 | 0
Small Fridge (2.5-6.4 cu.ft.) | 20 | 0 | 0 | 33% | 0 | 9 | 0 | 0 | 0 | 0
Television | 25 | 1 | 5 | 100% | 2.5 | 9 | 22.5 | 0.09 | 2.25 | 36
VCR | 25 | 1 | 6 | 100% | 3 | 9 | 27 | 0.108 | 2.7 | 43.2
Space Heater | 20 | 7 | 0 | 20% | 0 | 4 | 0 | 0 | 0 | 0
Window AC (9,000 Btu/hr) | 3 | 8 | 0 | 50% | 0 | 4 | 0 | 0 | 0 | 0
Window AC (12,000 Btu/hr) | 3 | 8 | 0 | 50% | 0 | 4 | 0 | 0 | 0 | 0
Cold Drink Vending Machine | 6 | 0 | 0 | 50% | 0 | 12 | 0 | 0 | 0 | 0
Other? |  |  |  |  | 0 |  | 0
TOTAL |  |  |  |  | 82.39 |  | 741.51 |  | 74.151 | 1186.416
Notes:
1. Quantities shown are for a typical, 25-classroom, 100,000 sq.ft., K-12 school.
2. Amount of time the appliance actually runs (e.g. a coffee maker burner is only on ~33% of the time).
3. If Necessary, change input in yellow for equipment you are analyzing. You can change other numbers if needed.

## Phantom Load Savings
Phantom Load Model
Savings
Average Electricity Cost = |  | 0.1 | per kWh |  | Average CO₂ Emitted per kWh = |  |  |  | 1.6 | lbs
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | Savings Analysis
Equipment | Quantity In Use1 | Typical Hours "off" Daily | Wattage | Cycle Time2 | Monthly kWh | Months/Year | Yearly kWh | Annual Cost Each | Total Annual Cost | Annual CO2 Emissions (lbs) | Existing Yearly kWh | kWh Savings | Existing Annual Cost | $$ Savings | Existing CO2 | CO2 Savings | Action Taken to Achieve Savings
Coffee Maker | 25 | 3 | 0 | 33% | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Computer/Monitor | 182 | 7 | 3 | 100% | 76.44 | 9 | 687.96 | 0.378 | 68.796 | 1100.736 | 687.96 | 0 | 68.796 | 0 | 1100.736 | 0
Fan | 10 | 3 | 0 | 100% | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Desk Lamp | 30 | 5 | 0 | 100% | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Microwave | 15 | 0.5 | 3 | 100% | 0.45 | 9 | 4.05 | 0.027 | 0.405 | 6.48 | 4.05 | 0 | 0.405 | 0 | 6.48 | 0
Tabletop Fridge (<2.5 cu.ft.) | 5 | 0 | 0 | 33% | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Small Fridge (2.5-6.4 cu.ft.) | 20 | 0 | 0 | 33% | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Television | 25 | 1 | 5 | 100% | 2.5 | 9 | 22.5 | 0.09 | 2.25 | 36 | 22.5 | 0 | 2.25 | 0 | 36 | 0
VCR | 25 | 1 | 6 | 100% | 3 | 9 | 27 | 0.108 | 2.7 | 43.2 | 27 | 0 | 2.7 | 0 | 43.2 | 0
Space Heater | 20 | 7 | 0 | 20% | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window AC (9,000 Btu/hr) | 3 | 8 | 0 | 50% | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window AC (12,000 Btu/hr) | 3 | 8 | 0 | 50% | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cold Drink Vending Machine | 6 | 0 | 0 | 50% | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other? | 0 | 0 | 0 | 0% | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  |  |  |  | 82.39 |  | 741.51 |  | 74.151 | 1186.416 | 741.51 | 0 | 74.151 | 0 | 1186.416 | 0
Notes:
1. Quantities shown are for a typical, 25-classroom, 100,000 sq.ft., K-12 school.
2. Amount of time the appliance actually runs (e.g. a coffee maker burner is only on ~33% of the time).
3. If Necessary, change input in yellow for equipment you are analyzing. You can change other numbers if needed.