## Slide 1: Comprehensive Evaluation of CNNs for Pollen Classification
Predrag Matavulj, Sanja Brdar, Marko Panić, Branko Šikoparija
BioSense Institute, Novi Sad, Serbia

## Slide 2: MOTIVATION

## Slide 3: TECHNOLOGY
Time
Angles

## Slide 4
Time
Angles
SCATTERED LIGHT IMAGE
Dimensions: 24xn, where n is the number of acquisitions – the width of the image is not fixed
DATA

## Slide 5: DATA
Emission wavelength
Time
FLUORESCENCE SPECTRUM
Eight consecutive acquisitions distanced by 500 nanoseconds (ns) over 32 channels of the spectrometer unit.
Emission wavelength
Time
preprocessing

## Slide 6: DATA
FLUORESCENCE LIFETIME
By simultaneous acquisition over four separated bands the fluorescence lifetime is measured.
Emission wavelength
Time
Time
Emission wavelength
preprocessing

## Slide 7: COLLECTING LABELED DATA
Collecting pollen samples
Calibration events: exposing the device with collected samples in a controlled environment

## Slide 8: MODELS

## Slide 9: VANILLA CNNS
Feature
extraction
FC(x)
Classification
Convolutional blocks
Convolution
Batch normalization
Padding
Dropout
Maxpool
ReLU

## Slide 10: VGG

## Slide 11: RESNET

## Slide 12: INCEPTION

## Slide 13: RESULTS
Chart: Best performing networks
| Scattered light | Spectrum | Lifetime
Vanilla CNN | 43.9 | 43.43 | 47.12
Best GoogleNet | 42.8 | 44.71 | 39.85
Best ResNet | 47.8 | 46.76 | 49.21

## Slide 14: CREATING MULTI-MODAL MODELS
Neural Network Framework 1
Neural Network Framework 2
Neural Network Framework 3
FC(x)
FC(x)
FC(x)
Concatenation
Classification

## Slide 15: RESULTS
Chart: Multi-modal networks
| Random conv weights | Pretrained conv weights
Vanilla CNN | 60.9 | 63.4
ResNet | 55 | 68.9

## Slide 16: Thank you for your attention!
This research was funded by the BREATHE project from the Science Fund of the Republic of Serbia PROMIS program, under grant agreement no. 6039613